Tender documentation for the purchase of the integration sphere

Minimum requirements for technical parameters and parts of the supply:

- Wavelength range: 350 – 2500 nm

- Possibility to measure both spectral reflectance and transmittance

Price must include

- All accessories necessary for full instrument functionality

- Bulb for an integration sphere

- Power supply

- Radiometric calibration (reflectance, transmittance)

- Shipping and insurance

- 2 years warranty

- User manual

Evaluation criteria

Total price without VAT		weighting factor 55 %

Technical parameters			weighting factor 30 %

Warranty, delivery and service		weighting factor   5 %

Shortening of shipment			weighting factor 10 %